## Sheet1
Contact | Project Name | Tasks | Date | Day of Week | Duration (hours) | Description
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8303 |  | 2023-07-03 | Monday | 2 | Architect IDR attendance
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-04 | Tuesday | 8 | Structural IDR, Cable tray sizing, Started circuiting of heaters.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-05 | Wednesday | 8 | IDR present and prepare.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-06 | Thursday | 8 | Structural IDR, Cable tray sizing/weights/design in TMF.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-07 | Friday | 8 | Finalized TMF Cable tray. Revizto mini workshop. Mech circuiting design for panel heaters.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-11 | Tuesday | 9 | TWF cable tray update, Gate House circuiting, followed up lightning, weekly meeting.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-12 | Wednesday | 9 | Constructability review x 2, fire model update and review.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-13 | Thursday | 9 | Highbay and catwalk lighting circuiting, TWF cable tray update, Lightning markup re-issue, Site visit prep.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-14 | Friday | 9 | Kananook Site visit. Logging of photos on system. Additional admin when back in office.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-17 | Monday | 5 | Enquired on Arch equipment power, followed up lightning, circuiting of power TMF ground.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-18 | Tuesday | 8 | TMF Ground floor power circuiting and DB schedules. Received lightning designs.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-19 | Wednesday | 8 | TMF Lv1 Power Circuit, Server Room Schematic. Mech coordination.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-20 | Thursday | 8 | Server room circuit, updated DB schedules, Added Section and 3D of TMF.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-21 | Friday | 8 | Updated Emergency lighting (circuiting, locations, family editing), Revised Gate House Lighting.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-22 | Saturday | 3 | Delegated work to Engineer. Emails. 3D details added.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-25 | Tuesday | 10 | Answered some CRS comments on OCS. Created and delegated tasks to draughters plus support. Prep for G2 issue.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-26 | Wednesday | 12 | More CRS comments (OCS related - big task), more circuiting, model tidying for presentation.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-27 | Thursday | 9 | Circuited all outlets, Updated all DB Schedules, created additional 3D views with commentary.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8301 |  | 2023-07-28 | Friday | 9 | TMWF Package Release. Update Outlet schedule details. Responded to some of Rowan's comments.
WSP AUSTRALIA PTY LIMITED | DPK-32-BSG8303 |  | 2023-07-31 | Monday | 8 | Added rising conduits into OCS TWF. Fixed outlet schedule. Rowan Comments response.